Tech Specs

**Requirements**

Workstation

* 16 GB RAM
* 2.2 GHz or faster processor, Intel i5
* Minimum 1 GB available disk space for installing application
* 250 GB available disk space recommended for data
* Monitor: Minimum 1280 x 960 (4K monitors supported at maximum 150% magnification)
* USB Ports: 1 dedicated port (USB 2.0) for HASP key
* 1 Gbps wired LAN connectivity (Wi-Fi not supported)
* Windows 10 (Professional 64-Bit)
* Windows Home Edition NOT SUPPORTED

Mirror iPad App

* Minimum support of 802.11n or later protocol by the intra-office Wi-Fi router
* Requires iPad capable of running the current version of iOS

Server

* Windows Server 2016 64-bit and 2019 64-bit
* Microsoft SQL Server 2016, 2017 and 2019 (Express edition is installed by default)
* 2.2 GHz or faster processor, Intel i5
* 16 GB RAM (or higher)
* 1 Gbps wired LAN connectivity (Wi-Fi not supported)
* 300 GB HD, 7200 rpm minimum
* RAID 1 (mirroring) not recommended
* Space required dependent upon patient volume and camera used/settings
* Regularly scheduled backups are highly recommended