**Specifications**

Reveal Facial Imaging System

* 18 Megapixel resolution
* Automatic focus
* Automated white balance correction
* Facial positions: Left 45°, Center 0°, Right 45°
* Standard daylight flash lighting
* Cross Polarized flash lighting

Reveal Facial Imaging Device - Size & Weight

* Dimensions
	+ Inches: 21.75 x 6.75 x 14.25
	+ Centimeters: 55.3 x 17.2 x 36.2
* Weight
	+ Lbs: 6.0
	+ Kg: 2.7
* Power
	+ Voltage: 100 to 240 Volts AC (+/- 10%)
	+ Frequency: 50/60 Hz (+/- 3 Hz)
	+ Current: 3.2A (rms) for 115V / 1.6A (rms) for 220-240V

**Requirements**

Workstation

* 16 GB RAM
* 2.2 GHz or faster processor, Intel i5
* Minimum 1 GB available disk space for installing application
* 250 GB available disk space recommended for data
* Monitor: 1280 x 900 (4K monitors supported at maximum 150% magnification)
* USB Ports: 1 dedicated port (USB 2.0)
* 1 Gbps wired LAN connectivity (Wi-Fi not supported)
* Windows 10 (Professional, 64 Bit) - Recommended
* Windows Home Edition & Windows VISTA – NOT SUPPORTED
* Internet Explorer 11

Reveal iPad App

* Minimum support of 802.11n or later protocol by the intra-office Wi-Fi router
* Requires iPad capable of running the current version of iOS

SQL Server

* Windows Server 2016 64-bit and 2019 64-bit
* Microsoft SQL Server 2016, 2017 and 2019 (Express edition is installed by default)
* 2.2 GHz or faster processor, Intel i5
* 16 GB RAM (or higher)
* 1 Gbps wired LAN connectivity (Wi-Fi not supported)
* 300 GB HD, 7200 rpm minimum
* RAID 1 - NOT SUPPORTED
* Space required dependent upon patient volume and camera used/settings
* Regularly scheduled backups are highly recommended

Notes

* Users must be logged on with local administrator privileges.
* We do not support using a server class OS as a workstation.
* WAN Connectivity is NOT supported.