Tech Specs

**Specifications**

What's in the box

* VEOS DS3 Dermatoscope
* Non-contact cone
* Glass contact plate
* USB cable for charging
* VEOS Quick Reference Guide

Display

* 4-inch (diagonal) touch-screen Retina display
* 1136-by-640-pixel resolution at 326 pixels per inch

Camera

* 8 megapixel camera
* 18mm x 18mm field of view
* 130 pixels/mm
* Autofocus or tap to focus
* LED flash

Memory

* 802.11n (minimum)/ac (preferred) Wi-Fi (802.11n 2.4GHz and 5GHz)

Shipping size and weight

* Length: 7 1/2 inches (19.1 cm)
* Width: 5 1/8 inches (13 cm)
* Height: 2 3/4 inches (7 cm)
* Weight: 15.6 ounces (.44 kg)

Battery and power

* Built-in rechargeable lithium-ion battery
* Charging via USB cable
* Full-charge time: about 3.5 hours

External buttons and controls

* USB connector
* Status indicator LED
* On / off button