Tech Specs

**Specifications**

What's in the box

* VEOS HD2 Dermatoscope
* Glass contact plate
* USB cable for charging
* VEOS Quick Reference Guide

Device size and weight

* Length: 5.2 inches (13.2 cm)
* Width: 1.8 inches (4.6 cm)
* Depth: 1.2 inches (3.0 cm) - Closed, 1.6 inches (4.1 cm) - Fully extended
* Weight: 5.7 ounces (163 grams)

Shipping size and weight

* Length: 7 1/2 inches (19.1 cm)
* Width: 5 1/8 inches (13 cm)
* Height: 2 3/4 inches (7 cm)
* Weight: 14.1 ounces (.40 kg)

Battery and power

* Built-in rechargeable lithium-ion battery
* Charging via USB cable
* Full-charge time: about 3.5 hours

External buttons and controls

* USB connector
* Status indicator LED
* On / off button