Tech Specs

**Specifications**

Specifications

* 24 megapixel camera
* 22 x 15mm field of view
* 270 pixels/mm
* 36 LEDs in polarized mode, 22 LEDs in standard mode
* C-MOS sensor
* Glass plate on cone is removable for cleaning
* Live preview on back of camera
* Includes, 4 R/C batteries, and battery grip
* Full HD 1080p video
* Vari-angle Touch screen, 1 million dot, TFT, 3.0" Clear View II LCD monitor
* Self-cleaning sensor
* RAW (CR2) capture capable

Dimensions

* Width: 5.6 in / 142.5 mm
* Length: 7.2 in / 183.5 mm
* Height: 5.9 in / 151 mm
* Weight: 2.55 lbs / 1.16 kg