Tech Specs

**Specifications**

What's Included

* VISIOMED D200EVO dermatoscope
* Front attachment, large with glass
* Front attachment, small with glass

Device size and weight

* Base unit: 300 x 300 x 110 mm, 1650 g
* Hand-held unit: handle length 150 mm; cylinder, length: 110 mm; cylinder diameter: 58 mm,500 g
* Total weight: 2150 g